## Template
RMA Application (for hybrid inverter) |  |  |  | RMA No. (assigned by Goodwe)
*Name of end user |  | *Address |  | *Country
*Contact methods of end user (emial and phone No.) |  | *Product S/N |  | *Connected to SEMS □ Yes □ No
Delivery address & Contact number
Tel:
*Installation date |  | Warranty expire date |  | *Failure date
Inverter firmware version (from LCD or SEMS/Solar go) |  | Brand of PV Pannel |  | *QTY of PV Pannel per MPPT
|  | Model type of PV Pannel |  | *QTY of MPPT connected to inverter
*Type of battery pack | □ Lead acid □ Lituium | *Brand of battery pack |  | *Meter type | □ Arcel □ Smart meter
Type of back-up load |  | Power of back-up load |  | *Work mode (from PV master APP) | □ General mode □ Off-grid mode □ Back-up mode □ Ecnomic mode
*Installation environment description | *If there's any shield on top of inverter | □ Yes □ No | Installation picture A (Please attach it to another page) | Please show the whole inverter with clear sroundings
| *Distance from the inverter to the nearest obstacle | □ ≤ 0.6m □ > 0.6 m | Installation picture B (Please attach it to another page) | Please show the inverter's connection status
| *Distance from the inverter to the nearest inverter (if there is more than 1 inverter) | □ ≤ 1.2m □ > 1.2m | Installation picture C (Please attach it to another page) | Please show the grouding connection status and N to PE voltage
|  |  | Installation picture D (Please attach it to another page) | Please show the rating lable of battery pack
*Problem description | *Symptom: Frequency of occurrence: Influence:
*Troubleshooting steps done with testing result | *Step 1 Description of test (if there's any error message on the screen, please take a picture) |  | *Description of test result (Please provdie the picture of testing result if there is)
| *Step 2 Description of test |  | *Description of test result (Please provdie the picture of testing result if there is)
| *Step 3 Description of test |  | *Description of test result (Please provdie the picture of testing result if there is)
| *Step 4 Description of test |  | *Description of test result (Please provdie the picture of testing result if there is)
| *Step 5 Description of test |  | *Description of test result (Please provdie the picture of testing result if there is)
*RMA Application drafted by (Claimant) |  |  | *Date of application
RMA Application apporved by (Goodwe) |  |  | Date of approval
Remark
1. Please note, all the cells marked with star (*) is mandatory to fill up by claimant.
2. Please note all the RMA approval decision is based on the information Goodwe gets from this application. After the faulty unit being returned back and checked by Goodwe, if it's confirmed that the failure is due to NONE Goodwe quality related reason, the approval decision made by Goodwe may become invalid and Goodwe reserves the right to charge all the related cost to the claimant.
3. Goodwe reserves the right of final explanation to the understanding of this RMA Application.
Installation picture A Please show the whole inverter with clear sroundings
Installation picture B Please show the inverter's connection status
Installation picture C Please show the grouding connection status and N to PE voltage
Installation picture D Please show the rating lable of battery pack

## Example
RMA Application (for hybrid inverter) |  |  |  | RMA No. (assigned by Goodwe)
*Name of end user | XXXXXX | *City | XXX | *Country | XXX
*Contact methods of end user (emial and phone No.) | XXXXXX | *Product S/N | 93648EMUXXXX0010 | *Connected to SEMS ☑ Yes □ No
*Installation date | XXXXXX | Warranty expire date | XXXXXX | *Failure date | XXXXXX
Inverter firmware version (from LCD or SEMS/Solar go) | 1060608 | Brand of PV Pannel | Yingli | *QTY of PV Pannel per MPPT | 12
|  | Model type of PV Pannel | 275W B40 | *QTY of MPPT connected to inverter | 1
*Type of battery pack | □ Lead acid ☑ Lituium | *Brand, modle and QTY of battery pack | PYLON, US2000, 4 | *Meter type | □ Arcel ☑Smart meter
Type of back-up load | Water boiler | Power of back-up load | 1800W | *Work mode (from PV master APP) | ☑ General mode □ Off-grid mode □ Back-up mode □ Ecnomic mode
*Installation environment description | *If there's any shield on top of inverter | ☑ Yes □No | Installation picture A (Please attach it to another page) | Please show the whole inverter with clear sroundings
| *Distance from the inverter to the nearest obstacle | □ ≤ 0.6m ☑ > 0.6 m | Installation picture B (Please attach it to another page) | Please show the inverter's connection status
| *Distance from the inverter to the nearest inverter (if there is more than 1 inverter) | □ ≤ 1.2m ☑ > 1.2m | Installation picture C (Please attach it to another page) | Please show the grouding connection status and N to PE voltage
|  |  | Installation picture D (Please attach it to another page) | Please show the rating lable of battery pack
*Problem description | *Symptom: Battery cannot discharge or does not discharge at normal power Frequency of occurrence: often Influence: Battery can't supply power functionally
*Troubleshooting steps done with testing result | *Step 1 Description of test (if there's any error message on the screen, please take a picture) | Checked if there's upper limit set for battery discharging current | *Description of test result (Please provdie the picture of testing result if there is) | By PV master correct discharging current was configured
| *Step 2 Description of test | checked SOC and DOD settings | *Description of test result (Please provdie the picture of testing result if there is) | SOC is 10%, however when SOC>=10%, the battery still doesn't discharge power
| *Step 3 Description of test | Checked the work mode | *Description of test result (Please provdie the picture of testing result if there is) | Work mode is always general mode
| *Step 4 Description of test | checked the meter and CT connection | *Description of test result (Please provdie the picture of testing result if there is) | Smart meter and CT were correctly connected according to the manual.
| *Step 5 Description of test | checked if anti-reverse function | *Description of test result (Please provdie the picture of testing result if there is) | Anti-reverse functon hasn't been activated
*RMA Application drafted by (Claimant) | XXXXXX |  | *Date of application | XXXXXX
RMA Application apporved by (Goodwe) |  |  | Date of approval
Remark
1. Please note, all the cells marked with star (*) is mandatory to fill up by claimant.
2. Please note all the RMA approval decision is based on the information Goodwe gets from this application. After the faulty unit being returned back and checked by Goodwe, if it's confirmed that the failure is due to NONE Goodwe quality related reason, the approval decision made by Goodwe may become invalid and Goodwe reserves the right to charge all the related cost to the claimant.
3. Goodwe reserves the right of final explanation to the understanding of this RMA Application.
Installation picture A Please show the whole inverter with clear sroundings
Installation picture B Please show the inverter's connection status
Installation picture C Please show the grouding connection status and N to PE voltage
Installation picture D Please show the rating lable of battery pack